Heavy metals(lead, mercury, manganese, and magnesium)) to water ratio research paper and its links

Large-scale water purification devices in R&D projects show high efficiency (often >90% and up to 99.9%) for removing lead, mercury, and manganese, using various advanced technologies. Magnesium, an essential element, is generally not a target for complete removal but is addressed for acceptable concentration ranges.

Removal Efficiency by Metal:

Research and development (R&D) in large-scale water treatment focuses on specific technologies to target different heavy metals. The efficiency heavily depends on the initial concentration, pH, and the specific method used.

Table 1: Heavy metals(lead, mercury, manganese, and magnesium)) to water ratio

| Heavy Metal | Typical R&D Removal Efficiency(%) | Effective Technologies in R&D |
| --- | --- | --- |
| Lead (Pb) | >90%, up to ≈100% | Adsorption (nanomaterials, activated carbon, zeolite), reverse osmosis, chemical precipitation |
| Mercury (Hg) | >90%, up to 99.5% | Adsorption (engineered biochar, activated carbon), reverse osmosis, membrane technologies |
| Manganese (Mn) | >90%, up to 97% | Oxidation-coagulation-adsorption, zeolite adsorption, membrane filtration |
| Magnesium (Mg) | Not a primary removal target; managed for concentration limits | Removed as a function of overall water softening or desalination processes (e.g., reverse osmosis) |

Key R&D and Large-Scale Technologies

- Adsorption:

Highly favored in R&D due to its efficiency and cost-effectiveness. Various adsorbents, including natural minerals (zeolites, clay), industrial by-products, and advanced carbon nanomaterials (carbon nanotubes, graphene oxide), are explored. Functionalized adsorbents have shown excellent removal of targeted heavy metals under optimal conditions.

- Membrane Technologies:

Reverse Osmosis (RO) and Nanofiltration (NF) are predominant in large-scale applications, offering high rejection rates (above 90-99%) for heavy metal ions due to small pore sizes and charge repulsion (Donnan exclusion).

- Chemical Precipitation:

Used in industrial settings, this method achieves over 99% removal efficiency for many heavy metals by forming insoluble compounds, often using agents like magnesium hydroxy carbonate, calcium hydroxide, or sodium sulfide.

- Ion Exchange:

Effective for removing heavy metals at low concentrations, particularly in industrial settings, by trapping specific metal ions with porous resins.

Water to Heavy Metal Ratio:

- Instead of a fixed "water-to-heavy metal ratio" for the device itself, the efficiency is described in terms of the initial concentration (Co) in mg/L or ppm and the final concentration after treatment.

- The goal is to reduce concentrations below the World Health Organization (WHO) or local regulatory limits, for example, below 0.01 mg/L for lead and 0.006 mg/L for mercury, and 0.4 mg/L for manganese.

- R&D projects aim to treat large volumes of water while achieving these low residual concentrations, with a focus on scalable, cost-effective, and environmentally friendly methods.

Research paper and its links

- Recent progress in removal of heavy metals from wastewater: A comprehensive review

Link: https://pubmed.ncbi.nlm.nih.gov/37263507

- A comprehensive review on conventional and biological-driven heavy metals removal from industrial wastewater

Link: https://www.sciencedirect.com/science/article/pii/S2666765722000047

https://sci-hub.hlgczx.com/https://doi.org/10.1016/j.envadv.2022.100168

- Heavy Metals Removal from Water by Efficient Adsorbents

Link: https://www.mdpi.com/2073-4441/13/19/2659

https://sci-net.xyz/10.3390/w13192659

- Water treatment methods in heavy metals removal during photovoltaic modules recycling: a review

- Link: https://www.sciencedirect.com/science/article/pii/S0921344924002957#:~:text=Primary%20treatment%2C%20including%20water%20treatment,before%20their%20discharge%20to%20rivers.

- Developing water treatment technologies in removing heavy metals from wastewater: A review

Link: https://www.sciencedirect.com/science/article/abs/pii/S2215153221001926?via%3Dihub

https://www.researchgate.net/publication/357091183_Developing_water_treatment_technologies_in_removing_heavy_metals_from_wastewater_A_review#:~:text=Abstract,the%20applicability%20of%20the%20process

- Technologies Developing in Heavy Metals’ Removal from Water

Link: https://www.researchgate.net/publication/350301741_Technologies_Developing_in_Heavy_Metals'_Removal_from_Water

https://www.mdpi.com/2073-4441/13/6/860

- A review of technologies for manganese removal from wastewaters

Link: https://www.sciencedirect.com/science/article/abs/pii/S2213343715300737#:~:text=Even%20at%20a%20concentration%20of,and%20recovery%20from%20various%20wastes.

- Super-efficient removal of arsenic and mercury ions from wastewater by nanoporous biochar-supported poly 2-aminothiophenol

Link: https://www.sciencedirect.com/science/article/abs/pii/S2213343722002366#:~:text=Adsorption%20isotherms%20(Langmuir%2C%20Freundlich%2C,ions%20contaminations%20in%20the%20wastewater.

- Water Purification Technology

Link: https://www.sciencedirect.com/topics/engineering/water-purification-technology#:~:text=According%20to%20the%20separation%20mechanism,scarce%20%5B8%2C9%5D.

- Heavy Metal Adsorption Using Magnetic Nanoparticles for Water Purification: A Critical Review

Link: https://www.mdpi.com/1996-1944/14/24/7500

https://sci-hub.hlgczx.com/10.1186/s40580-020-00245-4