Compatible data of pH sensor of RO plan of water purification devices

pH Sensor in RO Plant

- What is pH?

pH measures how acidic or alkaline (basic) water is — it’s the concentration of hydrogen ions (H⁺). A pH of 7 is neutral, less than 7 is acidic, greater than 7 is basic.

- Why measure pH in an RO plant?

The RO membrane’s lifetime and performance depend on the water chemistry. If the pH is out of the ideal range, it can damage the membrane.

- Links: https://pdf.directindustry.com/pdf/emerson-automation-solutions-rosemount/ph-solution-protects-membrane-reverse-osmosis/36718-601420.html

https://www.knick-international.com/en/process-analytics/industry-solutions/reverse-osmosis-systems

- Some membranes are sensitive: they degrade or foul faster if pH is too high (alkaline) or too low (acidic).

- Links: https://www.rotec-hid.com/news/ph-control-principles-in-different-stages-of-reverse-osmosis-operation

https://www.process-worldwide.com/proper-monitoring-increases-reverse-osmosis-efficiency-and-membrane-life-a-303133

https://www.yokogawa.com/us/library/resources/application-notes/ph-orp-measurement-for-reverse-osmosis

- By measuring pH upstream (feed water) you can control chemical dosing: add acid or base to regulate pH, protecting the membrane.

- Links: https://blog.powerspecialties.com/2018/03/phorp-measurement-for-reverse-osmosis.html

- https://www.yokogawa.com/ro/library/resources/application-notes/ph-orp-measurement-for-reverse-osmosis

- pH monitoring also helps in predictive maintenance: if pH drifts, it may signal scaling, fouling, or other issues.

- Links: https://link.springer.com/article/10.1007/s13201-018-0821-8

https://sci-hub.hlgczx.com/10.1007/s13201-018-0821-8

- Where in the RO process the pH sensor is used:

Typically, a pH sensor is installed before the membrane (feed) and sometimes after (product or reject), so we can monitor and react to changes.

- Links:https://www.yokogawa.com/cis/library/resources/application-notes/ph-orp-measurement-for-reverse-osmosis

https://www.yokogawa.com/us/library/resources/application-notes/ph-orp-measurement-for-reverse-osmosis

- How the sensor works:

A pH sensor (electrode) measures the voltage difference generated by hydrogen ions; that voltage is converted to a pH reading. In industrial systems, these are robust electrodes made for low-conductivity water (like RO permeate) and often paired with transmitters to send data to control systems.

- Links: https://www.knick-international.com/en/process-analytics/industry-solutions/reverse-osmosis-systems

https://m4knick.com/conductivity-orp-and-ph-measurements-in-reverse-osmosis-systems

- Benefit to client / operator:

Longer membrane life → cost savings. Better water quality control, because pH is a critical parameter and real-time monitoring so we can detect and correct problems (like scaling) before they cause failure.

Links: https://www.process-worldwide.com/proper-monitoring-increases-reverse-osmosis-efficiency-and-membrane-life-a-303133

Academic / Research Explanation:

This includes theory, transport phenomena, and modelling, plus system integration.

- Ion Transport and pH in RO Membranes:

The transport of ions (including H₃O⁺ and OH⁻) through RO membranes is complex. There are electrostatic effects from the membrane charge, as well as diffusion and migration. For example, hydronium and hydroxide ions can have unusually high permeabilities, which influences permeate pH.

- Links: https://pubmed.ncbi.nlm.nih.gov/26447944

https://sci-hub.hlgczx.com/10.1016/j.watres.2015.09.038

- Theoretical Modelling

Models based on the Nernst–Planck equation (or Maxwell–Stefan frameworks) combined with chemical equilibrium are used to predict how pH behaves across the membrane.

- Links: https://arxiv.org/abs/1706.06835

https://sci-hub.hlgczx.com/10.1103/PhysRevApplied.9.024034

- Membrane Charge & pH Effects:

The functional groups on the membrane (e.g., –COO⁻, –NH₃⁺) change their charge state depending on pH. This affects ion rejection. A recent MD-simulation (molecular dynamics) study showed that when membranes are more negatively charged (which corresponds to higher pH), they reject Na⁺ and Cl⁻ ions more strongly.

- Links: https://arxiv.org/abs/2503.10871

https://arxiv.org/pdf/2503.10871

- Monitoring & Control System:

In an R&D system, pH sensors can be part of an embedded monitoring system: microcontroller reads pH (and other parameters like TDS, flow), sends data to cloud or local dashboard triggers maintenance or chemical dosing. For instance, a study built an embedded RO-plant monitoring unit to detect membrane fouling or scaling and predict maintenance.

- Links: https://link.springer.com/article/10.1007/s13201-018-0821-8

https://sci-hub.hlgczx.com/10.1007/s13201-018-0821-8

- Impact on Membrane Life & Efficiency
With proper pH control:

- Scaling (like calcium carbonate) is minimized, because precipitation is pH-dependent.

Link: https://www.process-worldwide.com/proper-monitoring-increases-reverse-osmosis-efficiency-and-membrane-life-a-303133

- Fouling can be reduced: abnormal pH may favor biofouling or chemical fouling.

Links: https://link.springer.com/article/10.1007/s13201-016-0493-1

https://sci-hub.hlgczx.com/10.1007/s13201-016-0493-1

- Membrane integrity is preserved: extreme pH can chemically degrade thin-film composite membranes.

Link:https://pdf.directindustry.com/pdf/emerson-automation-solutions-rosemount/ph-solution-protects-membrane-reverse-osmosis/36718-601420.html

Research paper and its link:

- Modeling pH variation in reverse osmosis

Links: https://pubmed.ncbi.nlm.nih.gov/26447944

https://sci-hub.hlgczx.com/10.1016/j.watres.2015.09.038

- Theory of ion and water transport in reverse osmosis membranes

Link: /https://arxiv.org/abs/1706.06835

https://arxiv.org/pdf/1706.06835

- An Efficient pH Detector for Water Contamination Based on Mach–Zehnder Interferometer Application

Link: https://www.mdpi.com/2413-4155/6/4/80

- Biofouling in reverse osmosis: phenomena, monitoring, controlling and remediation

Links: https://link.springer.com/article/10.1007/s13201-016-0493-1

https://sci-hub.hlgczx.com/10.1007/s13201-016-0493-1

- Automation and Monitoring of Reverse Osmosis Water Treatment Plant

Link:

https://www.ijeat.org/wp-content/uploads/papers/v8i2/B5633128218.pdf

https://www.researchgate.net/publication/351087517_2Automation_and_Monitoring_of_Reverse_Osmosis_Water_Treatment_Plant