# Capacity of water level sensor commercial for water tank, their components, and their prices

Capacity of water level sensor commercial for water tank in local and international market.

- Submersible Water Level Sensor with wireless monitoring system (International):

The Submersible Water Level Sensor is a general purpose submersible hydrostatic level transmitter. It adopts imported high quality piezoresistive sensor, robust 316L stainless steel housing and a hydrometric cable with the ventilation tube make it dependable and cost effective solution for a wide variety of industrial level measurement applications. It can keep working fine in liquids for more than ten years.
Specification
Measuring Medium: Water
Level Range:0-100m
Cable:100m PE vented cable
Signal Output:4-20mA
Power Supply:12-30Vdc
Accuracy:0.5%FS
Working Temp Span:-10~60C
Housing material: Stainless steel 316L
Water Proof: IP68
Application
●Hydrostatic level measurement
●Water pressure level measurement
●Deep well and groundwater monitoring
●Sea water level measurement and control
●Borehole water level measurement
●Level measurement in pumping station
Wireless Monitoring System
4G RTU module
Power Supply:12-28Vdc
Other Remarks:3 channels analog input
Input signal: 4-20mA
4G wireless signal access

Figure 1: Submersible Water Level Sensor with wireless monitoring system

Website:

https://jescopakistan.pk/products/submersible-water-level-sensor-with-wireless-monitoring-system

- High Precision 4 to 20mA Water Level Sensor with LCD Display and 0 to 10m Range – GAOTek(International)

## Description

## Technical Specifications

| Range | 0m to 10m (32.8 ft) |
| --- | --- |
| Signal | 4mA to 20mA |
| Medium | Water |
| Precision | ±1mm |
| Installation Mode | Screw thread |
| Power Supply | 24v |

Figure 2: High Precision 4 to 20mA Water Level Sensor with LCD Display and 0 to 10m Range – GAOTek

Website:

https://gaotek.com/product/high-precision-4-to-20ma-water-level-sensor-with-lcd-display-and-0-to-10m-range-gaotek/

- FST700-1000 Submersible 4 20mA Piezo 2wire Water Tank Level Sensor in Pakistan(Local)

| - Parameter | - Specification |
| --- | --- |
| Measurement Range | 0–1 m to 0–200 m (customizable) |
| Output Signal | 4–20 mA / 0–5V / 0–10V (depends on model) |
| Accuracy | ±0.25% to ±0.5% FS |
| Power Supply | 12–36 V DC |
| Material | Stainless Steel 316L |
| Working Temperature | −10°C to +80°C |
| Protection | IP68 (fully submersible) |
| Cable Type | Waterproof vented cable with air tube for pressure compensation |
| Cable Length (Standard) | 10 meters (~32.8 feet) by default |
| Optional Lengths | Can be ordered in 5 m, 10 m, 15 m, 20 m, 30 m, or 50 m versions |

Price:

US$39.00 - 129.00

Figure 3: FST700-1000 Submersible 4 20mA Piezo 2wire Water Tank Level Sensor in Pakistan

Website:

https://firstsensor.en.made-in-china.com/product/oyIQLRsUbSVT/China-FST700-1000-Submersible-4-20mA-Piezo-2wire-Water-Tank-Level-Sensor-in-Pakistan.html

- Ground Water Level Measurement Transmitter Sensor 24VDC 4-20MA - MY-136(Local)

The measurement depth (in feet or meters) of such a sensor depends on its model number, which usually appears on the label. Unfortunately, the text on the label is not entirely clear in your image — but based on its size and cable type, this sensor typically measures:

- 0–5 meters (≈16.4 feet).

| Specification | Details |
| --- | --- |
| Model | TL-136 / MY-136 |
| Power Supply | 24𝑉𝐷𝐶 |
| Output Signal | 4−20𝑚𝐴 |
| Measuring Medium | Water and non-corrosive liquids |
| Sensor | High-precision silicon diffusion sensor |
| Material | 304 stainless steels |
| Protection Level | IP68 |
| Measurement Accuracy | 0.2%FS - 0.5% FS (conventional) |
| Temperature Compensation | Yes, for −10 to 70 °C |
| Ambient Temperature | −40 to 80 °C |
| Medium Temperature | −40 to 70 °C |
| Long-term Stability | ±0.2%FS / year |
| Air Guide Cable Length | Typically, 5 meters |

Price:

PKR16,750

Figure 4 :Ground Water Level Measurement Transmitter Sensor 24VDC 4-20MA - MY-136

Website:

https://instock.pk/ground-water-level-measurement-transmitter-sensor-4-20ma.html