# Compatible data of Research on the heavy metal(lead, mercury, manganese, and magnesium) to water ratio of Water purification devices

Table 1: Target Concentrations for Key Metals in Purified Water

| Heavy metal | Recommended Maximum Concentration in Purified Water | Why This Matters | Link |
| --- | --- | --- | --- |
| Lead (Pb) | ~ 0.01 mg/L (10 µg/L) guideline from international standards. | Lead is highly toxic even at low levels; keeping it at or below this value helps protect human health. | https://www.lenntech.com/applications/drinking/standards/who-s-drinking-water-standards.htm https://www.who.int/publications-detail-redirect/9789240020863 |
| Mercury (Hg) | ~ 0.006 mg/L (6 µg/L) or lower for inorganic mercury. | Mercury is very toxic and needs strong control; aiming for this low level ensures safety. | https://cdn.who.int/media/docs/default-source/wash-documents/water-safety-and-quality/chemical-fact-sheets-2022/mercury-fact-sheet-2022.pdf?download=true&sfvrsn=7cb7c519_2 https://www.who.int/docs/default-source/wash-documents/wash-chemicals/gdwq-ch12.pdf |
| Manganese (Mn) | ~ 0.4-0.5 mg/L (400-500 µg/L) as a guideline reference. | Manganese at elevated levels may affect taste and appearance of water, as well as health over long term. | https://www.lenntech.com/applications/drinking/standards/who-s-drinking-water-standards.htm |
| Magnesium (Mg) | No strict health-based international guideline but often treated under “hardness” or mineral content. | Magnesium is generally beneficial for health at moderate levels, so the goal is not to remove it entirely but to keep it within acceptable mineral/hardness limits while focusing on toxic metals. | N/A |

How to Use These in Your R&D Device Specification

- Design target:

Ensure your final purified water has metal concentrations at or below the values above.

- Raw water allowance:

If data  raw (incoming) water may have higher concentrations, calculate required removal efficiency.

- Example:

If raw water has 0.05 mg/L lead, to achieve ≤ 0.01 mg/L you need ≥80% removal efficiency.

- Communicate simply:

Our system will deliver water with lead, mercury, manganese and magnesium controlled to internationally recognized safe/acceptable levels if the test successfully cleared.

- Mineral balance:

For magnesium, emphasize your device retains beneficial minerals (rather than stripping everything out), unless hardness needs explicit treatment.

- Future-proofing:

Since standards may tighten over time, it’s wise to design for performance margin (e.g., aim for lead much below 0.01 mg/L if possible) so the system remains effective for years to come.