# Lead material detects in water with any commercial microcontroller and its portable device

Sensors:

- Mettler Toledo DX407-Pb Lead ISE Half-Cell

Link: https://www.scalesgalore.com/product/Mettler-Toledo-51107873-DX407Pb-Lead-ISE-HalfCell-Ion-Selective-Electrode-px57010.cfm

- Thermo Scientific / Orion – Lead ISE Electrode

Link: https://www.thermofisher.com/search/browse/category/us/en/90227227

- Home/  Field Test Kits (not electronics-module)

Link: https://www.amazon.com/Osumex-HMT-Lead-Kit/dp/B0083VKPAI

- Research/Prototype  Devices

Link: https://www.mdpi.com/2076-3298/5/9/95  https://pmc.ncbi.nlm.nih.gov/articles/PMC10143460

Techniques:

- Ital Sens SPE for Heavy Metals

Link: https://www.palmsens.com/product/italsens-is-hm

- PalmSens EmStat4 Module

Link: https://www.palmsens.com/product/emstat4m

- PalmSens/ EmStat Pico

Link: https://www.palmsens.com/app/uploads/2022/09/EmStat-Pico-Brochure.pdf

- Open-Source / Research Potentiostat

Link: https://www.sciencedirect.com/science/article/pii/S0013468622005618 https://pubs.acs.org/doi/10.1021/acs.analchem.8b00850 https://www.hardware-x.com/article/S2468-0672%2822%2900035-9/fulltext

- Method SCRIPT by PalmSens

Link: https://www.palmsens.com/methodscript

Uses:

- 2S Water-Lead Sensor

Link: https://www.2swater.com/sensor-solutions/lead

- MAS-G1 Heavy Metal Rapid Detection System

Link: https://www.accusensing.com/en/product/product_tw_MASG1

- ItalSens HM1 / PalmSens Heavy-Metal Screen-Printed Electrode

- Link: https://www.palmsens.com/app/uploads/2017/02/Detection-of-heavy-metals-IS-HM-2015-12-08.pdf

- Open-source / networked lead sensor modules (NJIT, Burns Lab, EPA doc)

Link: https://www.epa.gov/system/files/documents/2023-07/NJIT%20508.pdf

Microcontroller:

- Raspberry Pi Pico W (RP2040 with Wi-Fi) Link: https://www.raspberrypi.org/products/raspberry-pi-pico-w/ - Arduino Nano 33 IoT Link: https://store.arduino.cc/products/arduino-nano-33-iot - Teensy 4.1 Link: https://www.pjrc.com/store/teensy41.html - TI CC 3220SF (Simple Link Wireless Microcontroller) Link: https://www.ti.com/product/CC3220SF - STM32 Nucleo Boards Link: https://www.st.com/en/evaluation-tools/stm32-nucleo-boards.html - ESP32 Link: https://www.espressif.com/en/products/socs/esp32 - ESP32Dev Kits Link: https://www.espressif.com/en/products/devkits - ESP32-DevKitC-32E Link: https://www.amazon.com/Espressif-ESP32-DevKitC-32E-Development-Board/dp/B09MQJWQN2 Portable devices: - PlomBOX Link: https://www.nature.com/articles/s44172-024-00337-7 - Spectrometer-Based Systems Link: https://www.mdpi.com/2077-0472/13/6/1202 Circuit: - INA33 amplifier - OPA2333 (other low-noise op-amps) - AD8237 (other low-noise op-amps) - TLV2372 (other low-noise op-amps)