# Mercury  material detects in water with any commercial microcontroller and its portable device

Yes, it can build a portable device to detect mercury in water using specific sensor technologies and a standard microcontroller. While you cannot use a simple off-the-shelf component to detect mercury, research and DIY communities have developed several approaches using chemical or electrochemical methods.

Sensors:

- Lumex RA-915M Portable Mercury Analyzer

Link: www.environmental-expert.com/products/lumex-model-ra-915m-portable-mercury-analyzer-225867 medilasetechnologies.com/blue/en/mercury-analysers/37-ra-915m-mercury-analyzer.html

- Metrohm 946 Portable VA Analyzer

Link: www.metrohm.com/en_ae.html

- Skyray HM-3000P Portable Water Quality / Heavy Metals Analyzer

Link: www.directindustry.com/prod/skyray-instrument/product-54641-1807554.html

- MA-3 Solo (NIC)

Link: www.hg-nic.com/ma-series/ma-3-solo/

- PS Analytical — 10.226 Online Mercury Analyzer (Liquid Streams)

Link: www.psanalytical.com/products/onlinehgliquid.html?

- Mizu® Sensor (Holland Sensor)

Link: https://hollandsensor.com/product

Techniques:

- Cold Vapor Atomic Absorption Spectroscopy (CV-AAS)

Link: www.envirotech-online.com/news/environmental-laboratory/7/teledyne-leeman-labs/selecting-the-best-technique-for-mercury-measurement/38208

https://olympianwatertesting.com/mercury-as-a-drinking-water-impurity

www.fssai.gov.in/upload/uploadfiles/files/Manual%20of%20Method%20of%20Analysis%20of%20Foods%20-Water.pdf

https://pubs.usgs.gov/tm/2005/tm5A8

- Cold Vapor Atomic Fluorescence Spectroscopy (CV-AFS or CV-AF)

Link: https://en.wikipedia.org/wiki/Cold_vapour_atomic_fluorescence_spectroscopy

- Voltammetry / Stripping Voltammetry

- Inductively Coupled Plasma Mass Spectrometry (ICP-MS)

Link: https://olympianwatertesting.com/top-methods-for-detecting-mercury-levels-in-your-water

- Immunoassay / Test Kit Methods (Colorimetric / Lateral Flow / Antibody / Aptamer based)

Link: https://www.epa.gov/sites/default/files/201508/documents/treat_tech_mercury_542r07003.pdf

https://attogene.com/mercury-lateral-flow-test-kit

- Optical / Nanomaterial Sensors (Colorimetric, Fluorescence, Liquid-Crystal Interface, Aptamer / Nanoparticles)

Link: https://pubs.rsc.org/en/content/articlelanding/2024/ay/d4ay01482k

- Passive Sampling / Diffusive Gradient in Thin Films (DGT)

Link: https://en.wikipedia.org/wiki/Diffusive_gradients_in_thin_films

Uses:

- Environmental Monitoring of Water Bodies

- Industrial Wastewater / Effluent Monitoring

- Drinking Water Safety / Municipal Water Utilities

- Field Screening by NGOs / Research

- Continuous / Online Monitoring

- Portable Field Testing

- Legal / Compliance Testing & Audits

- Research & Development Projects

Microcontroller:

- STM32 Series (STMicroelectronics)

Link: https://stm32ai.st.com/edge-ai-hardware

- ESP32 Series (Espressif)

Link: https://www.nabto.com/best-industrial-microcontrollers

- Microchip / Atmel AVR / PIC

Link: https://www.nabto.com/best-industrial-microcontrollers

- MSP430 (Texas Instruments)

Link: https://www.nabto.com/best-industrial-microcontrollers

- Industrial Controller Boards (off-the-shelf):

Link: https://midanelec.com/index.php

- Sensor / Evaluation Boards for Industrial Use

Link: https://stm32ai.st.com/edge-ai-hardware

Portable devices:

- MA-3 Solo

Link: https://www.hg-nic.com/ma-series/ma-3-solo   https://agssci.com/product/model-ma-3-solo

- EMP-3

Link: https://www.hg-nic.com/emp-series/emp-3

- EMP-Gold+

Link: https://www.hg-nic.com/emp-series/emp-gold

- Lumex RA-915M

Link: https://www.medicalexpo.com/prod/lumex-instruments/product-113481-775511.html

www.chemoquip.co.za/docs/water-and environmental/MERCURY%20ANALYZERS.pdf

www.ohiolumex.com/wp-content/uploads/2023/07/RA-915-Analyzer.pdf

- Metrohm 946 Portable VA Analyzer

Link:www.metrohm.com/content/metrohm/shared/en/products/2/9460/29460010.download.pdf

- QM201G (Nanbei)

Link:https://www.nanbeiinternational.com/product/testing%20equipments/Mercury_analyzer/2014/0310/2000.html

- Mercury Tracker-3000 XS (ENVEA)

Link: https://envea.global/product/mercury-tracker-3000-xs