# Smart Water Monitoring & Purification Device – Summary

This research focuses on a multi-sensor system designed for real-time monitoring and purification of water, specifically targeting pH, Lead (Pb), Mercury (Hg), Manganese (Mn), and Magnesium (Mg). It emphasizes both technological innovation and local adaptability for Pakistan, where water contamination remains a serious issue.

# pH Sensor

Function

Measures acidity or alkalinity of water to ensure drinkability, prevent corrosion, and control purification chemical dosing.

Real-Time Examples in Pakistan

- SMARTPAT PH 8320 (Krohne):

Industrial process pH sensor with temperature compensation and HART communication.

- SMART SENSOR PH818 :

Portable digital pH meter (0–14 range).

- Jesco Multi-Parameter Analyzer :

Continuous online monitoring with RS-485 outputs.

- DANOPLUS Smart Tester :

IOT-enabled water quality device (pH, EC, TDS).

- HI9829 Multiparameter Meter:

Portable probe with optional GPS, used in field R&D.

Merits

- Continuous and automated monitoring.

- Immediate detection of unsafe water.

- Enables automatic control of neutralization.

- Long-term cost efficiency and reliability.

- Integration with IoT/cloud platforms for data logging.

- Widely applicable across industries and homes.

Demerits

- Frequent calibration required.

- Fragile electrodes and high replacement cost.

- Sensitive to temperature and interference.

- Limited local technical support in Pakistan.

- Power stability and maintenance issues in rural setups.

Forward View

Encourage local sensor manufacturing, combine traditional lab testing with IoT systems, train field technicians, and ensure availability of calibration materials.

# Lead (Pb) Sensor

Function

Detects toxic lead  ions in water for early contamination warning and purification control.

Real-Time Examples in Pakistan

- Safe Home DIY Lead Test Kit and SenSafe Metals Check (strip-based).

- Palin Test Kemio Heavy Metals Analyzer – advanced portable device for Pb detection (~3 min results).

- PCRWR / PCSIR labs – perform periodic heavy metal testing.

Merits

- Protects human health by early warning.

- Enables automatic purification or alerts.

- Build transparency and community trust.

- Reduces repeated lab costs.

- Can integrate with IoT for continuous monitoring.

Demerits

- Low-cost kits lack sensitivity (<10 ppb).

- High-end sensors are expensive and require calibration.

- Data management and power reliability are concerns.

- Fouling and interference by other ions reduce accuracy.

Forward View

Pakistan can adopt continuous electrochemical Pb monitoring like developed countries. Use self-cleaning electrodes, mobile alerts, and local sensor production to reduce costs.

# 3. Mercury (Hg) Sensor

Function

Detects trace mercury levels (ppb range), highly toxic even at minimal concentrations, using electrochemical or cold vapor atomic absorption methods.

Real-Time Examples in Pakistan

- Mercury monitoring is mainly lab-based (e.g., PCRWR, university studies in Thar, Peshawar).

- No widespread real-time Hg sensor deployment yet, though contamination is severe in Thar coalfields and industrial zones.

Merits

- It prevents neurological and ecological harm.

- Enables quick remediation.

- Builds regulatory compliance and public trust.

- Facilitates adaptive purification and early intervention.

Demerits

- Expensive, complex calibration, sensitive to interference.

- Few certified mercury sensors available locally.

- Requires stable power and data connectivity.

- Maintenance difficulty in harsh field environments.

Forward View

Begin semi-real-time monitoring (auto-sampling + lab). Develop rugged, electrochemical Hg sensors for local conditions. Regulatory bodies like PCRWR should establish standards and pilot IoT-linked mercury detection networks.

# 4. Manganese (Mn) Sensor

Function

Detects dissolved Mn ions causing metallic taste, staining, and neurological health risks. Works with oxidation–filtration units in purification.

Real-Time Examples in Pakistan

- High Mn levels reported in Multan (0.45 ppm), Sheikhupura (1.2 ppm), and Zhob (0.8 ppm).

- WHO limit: ≤ 0.5 mg/L.

- No commercial continuous Mn sensors widely deployed yet.

Merits

- Early detection of contamination spikes.

- Integrates with SCADA and municipal dashboards.

- Protects public health and reduces lab reliance.

- Provides regulatory data and aids environmental planning.

Demerits

- Ion interference (especially Fe, Ca, Mg).

- High cost of maintenance/calibration.

- Environmental stress and dust damage sensors.

- Low detection sensitivity in cheaper models.

- Lack of trained personnel for upkeep.

Forward View

Deploy pilot real-time Mn sensors in industrial/risk zones. Develop low-cost local models. Combine continuous sensors with periodic lab checks for validation. Train local operators for maintenance and data handling.

# 5. Magnesium (Mg) Sensor

Function

Monitors beneficial magnesium ion concentration, contributing to mineral balance and hardness control in purified water.

Real-Time Examples in Pakistan

- Water labs (KP, Punjab, Islamabad) – measure Mg in samples (lab-based).

- Imported Mg²⁺ test kits (Monitor, Ubuy, WellShop).

- MyWater smart purifier – app-based but unclear if real-time Mg sensing.

- LoRaWAN Mg²⁺ Ion Sensor (ZoneWu) – available globally, potential use in Pakistan.

Merits

- Balances hardness and scaling control.

- Ensures healthy mineral content.

- Improves user confidence in water quality.

- Supports automation for remineralization.

- Protects plumbing and heating equipment.

Demerits

- Adds cost and complexity to system.

- Requires frequent calibration and power supply.

- Selectivity issues with calcium and other ions.

- Limited local support for replacement parts.

- Complexity may overwhelm domestic users.

Forward View

Promote hybrid hardness + magnesium monitoring. Encourage R&D for robust Mg sensors in Pakistani water chemistry. Use IoT integration with periodic lab recalibration. Raise awareness about maintaining mineral balance in drinking water.

# Conclusion

The Smart Water Monitoring & Purification Device represents a vital technological step toward clean, safe, and sustainable water systems in Pakistan.
By integrating pH, Lead, Mercury, Manganese, and Magnesium sensors — each tailored to local water chemistry and socio-economic conditions — the system can transform traditional water testing into real-time, data-driven purification.