# Summary of Manganese  material, Magnesium material, Lead material and Mercury  material  detects in water with any commercial microcontroller and its portable device

- We had explored advanced analytical methods like Cold-Vapor Atomic Absorption/Fluorescence Spectroscopy (CV-AAS, CV-AFS), ICP-MS, Ion-Selective Electrodes (ISEs), and Electrochemical Methods (voltammetry, potentiometry) for detecting heavy metals in water — covering both laboratory-grade and portable field applications.

- We had examined a range of commercial ion-selective electrodes and photometric sensors such as the Thomas Mercury Combination ISE, Mettler Toledo DX407-Pb, DX224-Mg, AquaValid Manganese Sensor, and Hanna Instruments Photometers for precise water quality measurements.

- We had  analyzed integration possibilities using ESP32, STM32 Nucleo, and Arduino Uno boards — highlighting how these can interface with ion-selective or photometric sensors through low-noise amplifiers like INA333, OPA2333, AD8237, and TLV2372 for real-time, IoT-enabled monitoring.

- We had identified industrial and societal uses, including process monitoring, environmental and regulatory compliance, health and safety assessments, and quality control in manufacturing — showcasing the broad impact of metal detection systems.

- We had reviewed existing portable analyzers like Mercury Instruments

RA-915M, PlomBOX, and GAOTek analyzers, linking their operation principles with potential ESP32-based IoT prototypes for field-deployable, low-cost metal detection systems suitable for R&D and environmental safety.